## Slide 1: Ecal Resolution Studies and update
Jason Barkeloo
J. Brau, A. Steinhebel, E. Meyer, J. Carlson, D. Austin
UO Group Meeting
August 9, 2018

## Slide 2: Outline
KPiX
Reminder of What Has Been Done
  Test Beam Simulation and Comparison to KPiX data
  How we start applying these to the full detector model
Current Geometry Studies
  Effects on Resolution
    Changing order and makeup of ECAL Layers
Quick Update on FCNC
  Touching on Duplicate Event Removal
  First Look at Data in Region Orthogonal to SR

## Slide 3: Particle flow Calorimetry
SiD has been designed to use Particle Flow Calorimetry to measure all final states with precision
We expect excellent jet energy resolution
  Measure charged momenta with tracker, neutral energies with calorimeters
  Requires very fine segmentation
An “Imaging ECAL” is a crucial part of the design
  Silicon-Tungsten based calorimeter is being developed for a high granularity ECAL
  KPiX ASIC for readout of silicon pixels

## Slide 4: kPix
6 inch wafers
1024 13mm2 pixels
Readout and cable are bump-bonded directly to the sensor
Test beam studies have happened with an initial version of this KPiX sensor design
Will come back to the geometry and its effect on resolution measurements

## Slide 5: Test beam studies
Small 9 layer stack was placed into SLAC test beam
Sensor issues have been found and change the design going forward
  Cross Talk, Dead Pixels, …
Many electron events were seen that we can analyze and compare with simulation to improve understanding of the system
  Resolution, Identification (how well we can tell how many electrons are in an event)

## Slide 6: Simulation Studies
Geant4 Simulation created of 40x40cm plane of alternating Si (320 μm) and W (2.5mm,5/7 χ0 )
  40 (thin W) layer detector simulated simulated, only include 9 to match test beam stack for comparisons sake
  Electrons fired at origin of various energies (in particular 12.1 GeV, test beam energy)
  Want to try to match test beam running conditions
1000events, 10GeV. Energy in MeV deposited (all events summed) on the z-axis.

## Slide 7: Comparisons (cont.)
  Attempted to model distribution of electron multiplicity and errors in test beam
    10% pixels randomly removed from each layer
    Poisson distribution of simultaneous electrons per event used <n>=0.8725
    Shifted from central area (more densely pixelated, also test beam was shifted away)
    Match hit to KPiX pixel location

## Slide 8: Comparisons (cont.)
Excellent agreement to test beam data.
Couldn’t remove all of the low E shoulder during test beam cleaning (lots of ~0fC hits)

## Slide 9: Counting Electrons
Algorithm used to count the number of electrons in the even based on energy distributions throughout the detector.

## Slide 10: Counting Electrons (Cont.)
No field, just simple detector simulation

## Slide 11: ECAL Geometry And its Effects
20 layers 2.5mm W
10 layers 5mm W
30 gaps 1.25mm w/pixel sensors
29 χ 0

## Slide 12: Geometry Effects
Leakage into HCAL in overlap region increases due to less material, phi dependent

## Slide 13: Resolution Effects from geometry
Previous resolution study (Da An, et al. 2014) using 100 GeV photons in sidloi3.
 Resolution ~
 Resolution ~
Resolution study using 10, 50, 75, 100, 250, and 500 GeV electrons using Simple Geant4 Stack Simulation
For lower energy e- (<100 GeV), Resolution much closer to design expectation (17%/)
E. Meyer

## Slide 14: Distrubutions
Use cone width ± 0.2 rad constraint on hit locations (avoid backscatter)
  determined from incident MC particle, not actual hits in detector
  Ignore 5 GeV electrons in resolution plots, B-field effects  shower gets missed with constraint
5 GeV
10 GeV
50 GeV
100 GeV

## Slide 15: Comparisons
Discrepancies
SiD resolution degrades much faster than the simple stack resolution
100 GeV SiD photons for have Res ~ compared to ~ from previous sidloi3 study
100 GeV SiD photons have slightly better resolution than previous sidloi3 study; compared to ~

## Slide 16: Confirm simple stack behaves as expected
Vary the number of thin and thick layers for simple stack electrons
#Thick Layers = (40 - #Thin) / 2
Expected resolution of 40 thin ~
  measured
Expected resolution of 0 thin layers to degrade by (~)
  measured
Conclusion: simple stack behaves as expected
*Note: Simple stack absorbers are pure W

## Slide 17: sidloi3 results
Previous study
(Da An, et al.)
Current study 
(what is used on following resolution plot)
Small/negligible difference between and
Large difference between and

## Slide 18: SIDloi3 Results (cont.)
Consistency
Resolution at for old and current sidloi3 studies match
Discrepancy
For , old and current studies do not match ( compared to )

## Slide 19: How does incident hit location in module affect resolution?

## Slide 20: Resolution Dependence on phi
Closest overlap region to normal incidence: ~
ensures entire shower goes through center of module
100 GeV e- at is comparable to simple stack
flipped from diagram on the right

## Slide 21: Summary of current Angular
Current SiD compares better to previous studies when incident particles are fired at instead of normal incidence
Shower mostly contained in nonoverlapping region
flipped from diagram on the right

## Slide 22: Layer Swapping
Changing to have thick layers at the front could decrease the cost as the importance of sampling goes down when the shower has yet to fully develop.
See similar resolution with 2 thick layers at the start

## Slide 23: Layer Swapping
Consistently across energies see similar resolution with 2 thick layers in the front
D. Austin

## Slide 24: Complete Revision of layer Strategy
Initial studies of changing the number of thick and thin layers in the calorimeter.
Not much in resolution loss in going to 18:8 but reduce necessary amount of Si layers by 4

## Slide 25: Summary of SiD Results
Better understanding current results more every day
  Resolution differences from initial design resolution to current design geometry
  Comparison between versions of geometry can be tricky
Complimentary studies can be done for potential layer reduction of SiD ECal
  Rearrange Layers
  Change number of layers

## Slide 26: Update On FCNC
Analysis is moving, slowly
Awaiting new MC samples
  Not working on grid, no one knows why
  ATLMCPROD-6008
Moving to R21
  New signal and background MC

## Slide 27: Top Decays
SM Top Decays
SignalEvent with FCNC Top Decay, very suppressed in SM

## Slide 28: Preselection Cuts
We preselect events with objects that look like the signal
Require:
  == 1 lepton
  == 1 Good Photon
  MET
  >=2 Jets (at least one being b-tagged)
Event Duplication Removal
    Expanded on slightly this time

## Slide 29: Reminder – Duplicate (Overlapping) Event Removal

## Slide 30: Implemented Duplicate Event Removal
Due to large influence of photons on the analysis special samples are used for major backgrounds
  Increases the MC statistics of the samples with photons
  Must removal events that are the same
40-50% of previous ttbar, W+Jets samples are removed with this method and replaced
Previous inclusion could hide smaller effects that could be helpful in the analysis

## Slide 31: Duplicate Event Removal
No Removal
Just Major Samples
Post Removal

## Slide 32: Region Implementation
Most important background to be well modeled is obvious ttbar/ttbar+gamma
  Large increase in cross section at 13TeV
We craft an orthogonal region to make sure we are modeling these well
ttbar/ttbar+gamma region has been created
  Preselection Cuts
  >= 4 Jets (At least 1 b-tagged)
  Orthogonal FCNC mass cut
  Weak isolation cuts, currently

## Slide 33: Data in tt+Gamma Validation Region
∆R(γj0)
mSM Top
γ : pT
∆R(γl)
Small average under modeling, explained most probably by previously shown errors in the older MC samples being used.

## Slide 34: Conclusions
Had been waiting for MC production to get going with R21
  Held up with no end in site
  Failing with site specific issues
    Previously used sites have been decommissioned, replacements done work
Going forward I will be preparing and running R21 MC releases on the grid and guiding that with what I know now
Grid
Local, LXPlus

## Slide 35: Questions

## Slide 36: Backup

## Slide 37: W-First vs Si-First simulation
Distribution of energies in simulation depending on which way the test beam was facing into the detector, small differences

## Slide 40: BackScatter